## Cover Sheet
Version-1, Jan 2022
Glazed Elements - Fenestration Performance Requirements
Villa
Shops & Showrooms
Residential Building
Other,
non-Residential Building

## Villa
Glazed Elements - Fenestration Performance Requirements
Plot No.
| Project | [6 empty] | Total Wall Area |  |  | m2
| Consultant | [6 empty] | Total Roof Area |  |  | m2
| Building Type |  |  | Villa |  |  |  | Total Vertical Glazed Area |  | 0 | m2
[8 empty] | Total Horizontal Glazed Area |  | 0 | m2
WindowWallRatio
GlassRoofRatio
Version-1, Jan 2022
Glazing Vertical Surfaces
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT % | If columns and beams within the building envelope are not insulated, the glazing thermal transmittance requirement shall be improved by 10%. As an example, if glazing thermal transmittance is 2.1 W/m2K, the improved value should be 1.9 W/m2K.
[5 empty] | 0 | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
|  |  | 0 |  |  |  |  | Consultant Comment
0
0
0
0
0
0
0
0
0
Glazing Horizontal Surface
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
0
0
0
0
0
0
Note on N4: Enter the total Wall area
Note on N5: Enter the total Roof area

## Shops
Glazed Elements - Fenestration Performance Requirements
Plot No.
| Project | [6 empty] | Total Wall Area |  |  | m2
| Consultant | [6 empty] | Total Roof Area |  |  | m2
| Building Type |  |  | Shops & Showrooms |  |  |  | Total Vertical Glazed Area |  | 0 | m2
[8 empty] | Total Horizontal Glazed Area |  | 0 | m2
WindowWallRatio
GlassRoofRatio
Version-1, Jan 2022
Glazing Vertical Surfaces
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Note | For shopfronts and showrooms, other than those at ground floor level, glazed elements shall meet the performance criteria as following: Thermal transmittance (U-value) in W/m2K ≤1.9 Shading coefficient ≤0.76
0
0
0
0
0
0
0
0
0
0
0
|  |  | 0 |  |  |  |  | Consultant Comment
0
0
0
0
0
0
0
0
0
Glazing Horizontal Surface
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
0
0
0
0
0
0
Note on J16: Add note for the ground only shopfront
Note on N4: Enter the total Wall area
Note on N5: Enter the total Roof area

## Residential
Glazed Elements - Fenestration Performance Requirements
| Plot No. | [12 empty] | 0
| Project | [7 empty] | Total Wall Area | 0 |  | m2
| Consultant | [7 empty] | Total Glazed Area | 0 |  | m2
| Building Type |  |  | Residential |  |  |  |  | WWR | 0%
0
[6 empty] | Version-1, Jan 2022 |  |  | 0
Orientation of glazed element | North −22.5° ≤ α < 22.5° |  |  |  |  | Total Wall Area N-Orientation m2 |  | Orientation of glazed element |  | Northeast 22.5° ≤ α < 67.5° Northwest 292.5° ≤ α < 337.5° |  |  |  |  | Total Wall Area NE&NW Orientations m2
Max Percentage of glazing per building elevation | ≤ | 80 | % |  | Total Glazed Area per the Elevation m2 |  | 0 | Max Percentage of glazing per building elevation |  | ≤ | 70 | % |  | Total Glazed Area per the Elevation m2 |  | 0
|  | 81% |  |  | Percentage of glazing per elevation |  | 0% |  |  |  | 71% |  |  | Percentage of glazing per elevation |  | 0%
[5 empty] | 0 | [8 empty] | 0
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT % | Glazing Reference Name/No. |  | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
Orientation of glazed element | East 67.5° ≤ α < 112.5° West 247.5° ≤ α < 292.5° |  |  |  |  | Total Wall Area E&W Orientations m2 |  | Orientation of glazed element |  | Southeast 112.5° ≤ α < 157.5° South 157.5° ≤ α < 202.5° Southwest 202.5° ≤ α < 247.5° |  |  |  |  | Total Wall Area SE&S&SW Orientations m2
Max Percentage of glazing per building elevation | ≤ | 60 | % |  | Total Glazed Area per the Elevation m2 |  | 0 | Max Percentage of glazing per building elevation |  | ≤ | 40 | % |  | Total Glazed Area per the Elevation m2 |  | 0
|  | 61% |  |  | Percentage of glazing per elevation |  | 0% |  |  |  | 41% |  |  | Percentage of glazing per elevation |  | 0%
[5 empty] | 0 | [8 empty] | 0
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT % | Glazing Reference Name/No. |  | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
Consultant Comment
Orientation of glazed element | Horizontal (Skylight) |  |  |  |  | Total Roof Area m2
[5 empty] | Total Glazed Area per the Elevation m2 |  | 0
[5 empty] | Percentage of glazing |  | 0%
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
0
Note on J15: Enter the Total Wall Area at N orientation
Note on J48: Enter the Total Wall Area at E & W orientation
Note on J81: Enter the Roof Area
Note on U15: Enter the Total Wall Area at NE and NW orientation
Note on U48: Enter the Total Wall Area at SE,S and SW orientation

## Non Residential
Glazed Elements - Fenestration Performance Requirements
| Plot No. | [12 empty] | 0
| Project | [7 empty] | Total Wall Area | 0 |  | m2
| Consultant | [7 empty] | Total Glazed Area | 0 |  | m2
| Building Type |  |  | Other, non-Residential |  |  |  |  | WWR | 0%
0
[6 empty] | Version-1, Jan 2022 |  |  | 0
Orientation of glazed element | North −22.5° ≤ α < 22.5° |  |  |  |  | Total Wall Area N-Orientation m2 |  | Orientation of glazed element |  | Northeast 22.5° ≤ α < 67.5° Northwest 292.5° ≤ α < 337.5° |  |  |  |  | Total Wall Area NE&NW Orientations m2
Max Percentage of glazing per building elevation | ≤ | 80 | % |  | Total Glazed Area per the Elevation m2 |  | 0 | Max Percentage of glazing per building elevation |  | ≤ | 70 | % |  | Total Glazed Area per the Elevation m2 |  | 0
|  | 81% |  |  | Percentage of glazing per elevation |  | 0% |  |  |  | 71% |  |  | Percentage of glazing per elevation |  | 0%
[5 empty] | 0 | [8 empty] | 0
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT % | Glazing Reference Name/No. |  | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
Orientation of glazed element | East 67.5° ≤ α < 112.5° West 247.5° ≤ α < 292.5° |  |  |  |  | Total Wall Area E&W Orientations m2 |  | Orientation of glazed element |  | Southeast 112.5° ≤ α < 157.5° South 157.5° ≤ α < 202.5° Southwest 202.5° ≤ α < 247.5° |  |  |  |  | Total Wall Area SE&S&SW Orientations m2
Max Percentage of glazing per building elevation | ≤ | 60 | % |  | Total Glazed Area per the Elevation m2 |  | 0 | Max Percentage of glazing per building elevation |  | ≤ | 40 | % |  | Total Glazed Area per the Elevation m2 |  | 0
|  | 61% |  |  | Percentage of glazing per elevation |  | 0% |  |  |  | 41% |  |  | Percentage of glazing per elevation |  | 0%
[5 empty] | 0 | [8 empty] | 0
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT % | Glazing Reference Name/No. |  | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
|  |  | 0 | [8 empty] | 0
Consultant Comment
Orientation of glazed element | Horizontal (Skylight) |  |  |  |  | Total Roof Area m2
[5 empty] | Total Glazed Area per the Elevation m2 |  | 0
[5 empty] | Percentage of glazing |  | 0%
Glazing Reference Name/No. | Height m | Width m | Item Area m2 | Qty | Thermal Transmittance - U W/m2 K | Shading Coefficient - SC | Light Transmittance - LT %
0
Note on J15: Enter the Total Wall Area at N orientation
Note on J48: Enter the Total Wall Area at E & W orientation
Note on J81: Enter the Roof Area
Note on U15: Enter the Total Wall Area at NE and NW orientation
Note on U48: Enter the Total Wall Area at SE,S and SW orientation